Meteorological station
(Berge, Reservoir, Forêt)
10 Hz data
Eddy Pro
- Spike removal (Vickers and Mahrt, 1997)
- Amplitude resolution
- Drop-outs
- Absolute limits (H2O, CO2, CH4 concentrations)
- Skewness and kurtosis
- Discontinuities
- Time lags
- Assign quality flag (Mauder and Foken, 2004)
30 min data
Slow Filtering
- Despike (Papale et al. 2006)
- Absolute limits (LE, H, CO2 and CH4 flux)
- Filter rain
- Remove Mauder & Foken bad data
- Friction velocity for C fluxes (Papale et al. 2006)
30 min database