## Berge
Berge |  |  |  | Lat | 50.6538
Instrument | Instrument type | Height above max water level (m) | Notes | Lon | -63.2595
CNR4 | Net radiometer | 8
Irgason | Open-path CO2/H2O analyzer and sonic anemometer | 7.25 | orientation: 325° geo north
Irgason 107 probe |  | 7.25
Li-7700 | Open-path CH4 analyzer | 7.25
Geonor | Propeller anemometer | 2.5 | Installed the 2024-06-01
RMYoung 05103 | Infrared radiometer sensor | 6.3
Si-131 | Temperature/humidity sensor | 5.2 | Removed the 2022-06-13
HMP45C | Atmospheric pressure | 2.3
PTB110 | Tipping rain bucket | 2.3
TB4 | Water level radar | 0.9
Distance between instruments (sonic as reference)
| Eastward (cm) | Northward (cm) | Vertical (cm)
Li-7700 | 26 | -13.6 | 3

## Reservoir
Réservoir |  |  |  | Lat | 50.689
Instrument |  | Height (m) | Notes | Lon | -63.2494
CNR4 | Net radiometer | 1.5 | Installed 2021-06
Irgason | Open-path CO2/H2O analyzer and sonic anemometer | 2
Irgason 107 probe |  | 2
Distance between instruments (sonic as reference) in cm
| x | y | z
3DM-CV5-25 | 85 | -10 | -10

## Romaine-2 thermistors
Thermistors chain 1 |  |  | Lat | 50.6895
Instrument | Instrument type | Height (m) | Lon | -63.2497
TidBit V2 | Water temperature logger | 0
TidBit V2 | Water temperature logger | 0.2
TidBit V2 | Water temperature logger | 0.4
TidBit V2 | Water temperature logger | 0.6
TidBit V2 | Water temperature logger | 0.8
TidBit V2 | Water temperature logger | 1
TidBit V2 | Water temperature logger | 1.4
TidBit V2 | Water temperature logger | 1.8
TidBit V2 | Water temperature logger | 2.2
TidBit V2 | Water temperature logger | 2.6
TidBit V2 | Water temperature logger | 3
TidBit V2 | Water temperature logger | 4
TidBit V2 | Water temperature logger | 5
TidBit V2 | Water temperature logger | 6
TidBit V2 | Water temperature logger | 7
TidBit V2 | Water temperature logger | 8
TidBit V2 | Water temperature logger | 9
TidBit V2 | Water temperature logger | 10
TidBit V2 | Water temperature logger | 12.5
U20 | Pressure/temperature logger | 15
Thermistors chain 2 |  |  | Lat | 50.6753
Instrument | Instrument type | Height (m) | Lon | -63.2527
TidBit V2 | Water temperature logger | 0
TidBit V2 | Water temperature logger | 0.2
TidBit V2 | Water temperature logger | 0.4
TidBit V2 | Water temperature logger | 0.6
TidBit V2 | Water temperature logger | 0.8
TidBit V2 | Water temperature logger | 1
TidBit V2 | Water temperature logger | 1.4
TidBit V2 | Water temperature logger | 1.8
TidBit V2 | Water temperature logger | 2.2
TidBit V2 | Water temperature logger | 2.6
TidBit V2 | Water temperature logger | 3
TidBit V2 | Water temperature logger | 4
TidBit V2 | Water temperature logger | 5
TidBit V2 | Water temperature logger | 6
TidBit V2 | Water temperature logger | 7
TidBit V2 | Water temperature logger | 8
TidBit V2 | Water temperature logger | 9
TidBit V2 | Water temperature logger | 10
TidBit V2 | Water temperature logger | 12.5
TidBit V2 | Water temperature logger | 15
TidBit V2 | Water temperature logger | 17.5
TidBit V2 | Water temperature logger | 20
TidBit V2 | Water temperature logger | 22.5
TidBit V2 | Water temperature logger | 25
TidBit V2 | Water temperature logger | 27.5
TidBit V2 | Water temperature logger | 30
TidBit V2 | Water temperature logger | 32.5
TidBit V2 | Water temperature logger | 40
TidBit V2 | Water temperature logger | 50
TidBit V2 | Water temperature logger | 60
U20 | Pressure/temperature logger | 70

## Bernard_lake
Bernard |  |  |  | Lat | 50.8615
Instrument | Instrument type | Height abovewater level (m) | Notes | Lon | -63.3898
CNR4 | Net radiometer | 0.8
Irgason | Open-path CO2/H2O analyzer and sonic anemometer | 4.3 | orientation: 138° compass = 120° geo north
Irgason 107 probe |  | 4.3
Li-7700 | Open-path CH4 analyzer | 4.3
RMYoung 05103 | Propeller anemometer | 3.9 | Installed 2022-08-16
Si-131 | Infrared radiometer sensor | 0.8
HC2S3 | Temperature/humidity sensor | 2
PTB110 | Atmospheric pressure | 1.2
TB4 | Tipping rain bucket | 1
CS475a | Water level radar | 1 | Installed 2023-10-30
Distance between instruments (sonic as reference)
| Eastward (cm) | Northward (cm) | Vertical (cm)
Li-7700 | -37.5 | 5.5 | 7

## Bernard lake thermistors
Thermistors chain |  |  | Lat | 50.8608
Instrument | Instrument type | Height (m) | Lon | -63.3899
HOBO MX2202 | Temperature/light intensity logger | 0
HOBO MX2202 | Temperature/light intensity logger | 0.2
HOBO MX2202 | Temperature/light intensity logger | 0.4
HOBO MX2202 | Temperature/light intensity logger | 0.6
HOBO MX2202 | Temperature/light intensity logger | 0.8
HOBO MX2202 | Temperature/light intensity logger | 1
HOBO MX2202 | Temperature/light intensity logger | 1.4
HOBO MX2202 | Temperature/light intensity logger | 1.8
HOBO MX2202 | Temperature/light intensity logger | 2.2
HOBO MX2202 | Temperature/light intensity logger | 2.6
HOBO MX2202 | Temperature/light intensity logger | 3
HOBO MX2202 | Temperature/light intensity logger | 4
HOBO MX2202 | Temperature/light intensity logger | 5
HOBO MX2202 | Temperature/light intensity logger | 6
HOBO MX2202 | Temperature/light intensity logger | 7
HOBO MX2202 | Temperature/light intensity logger | 8
HOBO MX2202 | Temperature/light intensity logger | 9
HOBO MX2202 | Temperature/light intensity logger | 10
HOBO MX2202 | Temperature/light intensity logger | 12.5
HOBO MX2202 | Temperature/light intensity logger | 15
U20 | Temperature/pressure logger | 15

## Foret
Foret |  |  |  | Lat | 50.9021
Instrument | Measurement type | Height (m) | Notes | Lon | -63.4051
CNR4 | Net radiometer | 24
CSAT (east) | Sonic anemometer | 24 | Orientation 90°. Removed 2022-10-22 | Distance between instruments (sonic as reference)
CSAT (west) | Sonic anemometer | 24 | Orientation 270°. Removed 2022-10-22 |  | Eastward (cm) | Northward (cm) | Vertical (cm)
Li-7500 (east) | Open-path CO2/H2O analyzer | 24 | Removed 2022-10-22 | Li-7500 east | -10 | 0 | 0
Li-7500 (west) | Open-path CO2/H2O analyzer | 24 | Removed 2022-10-22 | Li-7500 west | 10 | 0 | 0
Irgason (east) | Open-path CO2/H2O analyzer and sonic anemometer | 24 | Orientation 90°. Installed 2022-10-22 | Li-7700 east | -46 | -16 | 26
Irgason (west) | Open-path CO2/H2O analyzer and sonic anemometer | 24 | Orientation 270°. Installed 2022-10-22 | Li-7700 west | 6.5 | 33.5 | 24.5
Li-7700 (east) | Open-path CH4 analyzer | 24 | Installed 2023-10-25
Li-7700 (west) | Open-path CH4 analyzer | 24 | Installed 2021-06-11
CS650 | Soil water content | -0.03
Geonor | Total precipitation | 2.5 | Installed 2024-06-02
HFP01SC | Heat flux plate | -0.1
HMP45C | Temperature/humidity sensor | 24
HMP155 | Temperature/humidity sensor | 20
HMP155 | Temperature/humidity sensor | 15
HMP155 | Temperature/humidity sensor | 10
HMP155 | Temperature/humidity sensor | 5
OWI-650 | Disdrometer | 26 | Installed 2021-10-21
PTB110 | Atmospheric pressure | 24
RMYoung 05103 | Propeller anemometer | 25
RMYoung 05103 | Propeller anemometer | 5 | Installed 2024-10-23
TB4 | Tipping rain bucket | 25
TCAV_2 | Soil temperature sensor | -0.03
TCAV_1 | Soil temperature sensor | -0.09

## Foret_neige
station | winter | variable | Instrument | height (m)
Canopy | 2019-2020 | snow height (cm) | Judd communication sensor | 2
|  | Air temp. (°C) | Judd communication sensor | 2
| 2020-2021 | snow height (m) | SR50A | 2.5
|  | Soil temp. (°C) | Pt-1000 thermistor | (-0.2, -0.1, -0.05)
|  | Snow temp. (°C) | Pt-1000 thermistor | (0, 15, 30, 45, 60, 75, 90)
|  | Air temp. (°C) | HMP60 | 2.5
|  | Relative humidity (%) | HMP60 | 2.5
|  | Vol. liquid water content (0 -1) | CS650 | (-25, -15)
| 2021-2022 | snow height (m) | Judd communication sensor | 2.5
|  | Soil temp. (°C) | Pt-1000 thermistor | (-0.2, -0.1, -0.05)
|  | Snow temp. (°C) | Pt-1000 thermistor | (0, 15, 30, 45, 60, 75, 90, 105)
|  | Air temp. (°C) | HMP60 | 2.5
|  | Relative humidity (%) | HMP60 | 2.5
|  | Vol. liquid water content (0 -1) | CS650 | (-25, -15)
| 2022-2023 | snow height (m) | Judd communication sensor | 2.5
|  | Soil temp. (°C) | Pt-1000 thermistor | (-0.2, -0.1, -0.05)
|  | Snow temp. (°C) | Pt-1000 thermistor | (0, 15, 30, 45, 60, 75)
|  | Air temp. (°C) | HMP60 | 2.5
|  | Relative humidity (%) | HMP60 | 2.5
|  | Vol. liquid water content (0 -1) | CS650 | (-25, -15)
Gap | 2019-2020 | snow height (cm) | Judd communication sensor | 2
|  | Air temp. (°C) | Judd communication sensor | 2
| 2020-2021 | snow height (m) | SR50 | 2.5
|  | Soil temp. (°C) | Pt-1000 thermistor | (-0.2, -0.1, -0.05)
|  | Snow temp. (°C) | Pt-1000 thermistor | (0, 15, 30, 45, 60, 75, 90, 105, 120, 135)
|  | Snow surf. temp. (°C) | Si-111 | 2.5
|  | Air temp. (°C) | HMP60 | 2.5
|  | Relative humidity (%) | HMP60 | 2.5
|  | Vol. liquid water content (0 -1) | CS650 | (-25, -15)
| 2021-2022 | snow height (m) | SR50 | 2.5
|  | Soil temp. (°C) | Pt-1000 thermistor | (-0.2, -0.1, -0.05)
|  | Snow temp. (°C) | Pt-1000 thermistor | (0, 15, 30, 45, 60, 75, 90, 105, 120, 135, 150)
|  | Snow surf. temp. (°C) | Si-111 | 2.5
|  | Air temp. (°C) | HMP60 | 2.5
|  | Relative humidity (%) | HMP60 | 2.5
|  | Vol. liquid water content (0 -1) | CS650 | (-25, -15)
| 2022-2023 | snow height (m) | SR50 | 2.5
|  | Soil temp. (°C) | Pt-1000 thermistor | (-0.2, -0.1, -0.05)
|  | Snow temp. (°C) | Pt-1000 thermistor | (0, 15, 30, 45, 60, 75, 90, 105, 120)
|  | Snow surf. temp. (°C) | Si-111 | 2.5
|  | Air temp. (°C) | HMP60 | 2.5
|  | Relative humidity (%) | HMP60 | 2.5
|  | Vol. liquid water content (0 -1) | CS650 | (-25, -15)

## Natashquan
Natashquan river
Instrument | Height (m)
CNR4 | 2
RMYoung 05103 | 2
HMP45C | 2
TB3 | 1

## Juvenile
Foret |  |  |  | Lat | 50.9021
Instrument | Measurement type | Height (m) | Notes | Lon | -63.4051
CNR4 | Net radiometer | 24
CSAT (east) | Sonic anemometer | 24 | Orientation 90°. Removed 2022-10-22 | Distance between instruments (sonic as reference)
CSAT (west) | Sonic anemometer | 24 | Orientation 270°. Removed 2022-10-22 |  | Eastward (cm) | Northward (cm) | Vertical (cm)
Li-7500 (east) | Open-path CO2/H2O analyzer | 24 | Removed 2022-10-22 | Li-7500 east | -10 | 0 | 0
Li-7500 (west) | Open-path CO2/H2O analyzer | 24 | Removed 2022-10-22 | Li-7500 west | 10 | 0 | 0
Irgason (east) | Open-path CO2/H2O analyzer and sonic anemometer | 24 | Orientation 90°. Installed 2022-10-22 | Li-7700 east | -46 | -16 | 26
Irgason (west) | Open-path CO2/H2O analyzer and sonic anemometer | 24 | Orientation 270°. Installed 2022-10-22 | Li-7700 west | 6.5 | 33.5 | 24.5
Li-7700 (east) | Open-path CH4 analyzer | 24 | Installed 2023-10-25
Li-7700 (west) | Open-path CH4 analyzer | 24 | Installed 2021-06-11
CS650 | Soil water content | -0.03
Geonor | Total precipitation | 2.5 | Installed 2024-06-02
HFP01SC | Heat flux plate | -0.1
HMP45C | Temperature/humidity sensor | 24
HMP155 | Temperature/humidity sensor | 20
HMP155 | Temperature/humidity sensor | 15
HMP155 | Temperature/humidity sensor | 10
HMP155 | Temperature/humidity sensor | 5
OWI-650 | Disdrometer | 26 | Installed 2021-10-21
PTB110 | Atmospheric pressure | 24
RMYoung 05103 | Propeller anemometer | 25
RMYoung 05103 | Propeller anemometer | 5 | Installed 2024-10-23
TB4 | Tipping rain bucket | 25
TCAV_2 | Soil temperature sensor | -0.03
TCAV_1 | Soil temperature sensor | -0.09

## Sapling
Berge |  |  |  | Lat | 50.6538
Instrument | Instrument type | Height above max water level (m) | Notes | Lon | -63.2595
CNR4 | Net radiometer | 8
Irgason | Open-path CO2/H2O analyzer and sonic anemometer | 7.25 | orientation: 325° geo north
Irgason 107 probe |  | 7.25
Li-7700 | Open-path CH4 analyzer | 7.25
Geonor | Propeller anemometer | 2.5 | Installed the 2024-06-01
RMYoung 05103 | Infrared radiometer sensor | 6.3
Si-131 | Temperature/humidity sensor | 5.2 | Removed the 2022-06-13
HMP45C | Atmospheric pressure | 2.3
PTB110 | Tipping rain bucket | 2.3
TB4 | Water level radar | 0.9
Distance between instruments (sonic as reference)
| Eastward (cm) | Northward (cm) | Vertical (cm)
Li-7700 | 26 | -13.6 | 3

## Regeneration
Bernard |  |  |  | Lat | 50.8615
Instrument | Instrument type | Height abovewater level (m) | Notes | Lon | -63.3898
CNR4 | Net radiometer | 0.8
Irgason | Open-path CO2/H2O analyzer and sonic anemometer | 4.3 | orientation: 138° compass = 120° geo north
Irgason 107 probe |  | 4.3
Li-7700 | Open-path CH4 analyzer | 4.3
RMYoung 05103 | Propeller anemometer | 3.9 | Installed 2022-08-16
Si-131 | Infrared radiometer sensor | 0.8
HC2S3 | Temperature/humidity sensor | 2
PTB110 | Atmospheric pressure | 1.2
TB4 | Tipping rain bucket | 1
CS475a | Water level radar | 1 | Installed 2023-10-30
Distance between instruments (sonic as reference)
| Eastward (cm) | Northward (cm) | Vertical (cm)
Li-7700 | -37.5 | 5.5 | 7

## Neige
Réservoir |  |  |  | Lat | 50.689
Instrument |  | Height (m) | Notes | Lon | -63.2494
CNR4 | Net radiometer | 1.5 | Installed 2021-06
Irgason | Open-path CO2/H2O analyzer and sonic anemometer | 2
Irgason 107 probe |  | 2
Distance between instruments (sonic as reference) in cm
| x | y | z
3DM-CV5-25 | 85 | -10 | -10