## Berge
Berge |  |  | Lat | 50.6538
Instrument | Height above max water level (m) | Notes | Lon | -63.2595
CNR4 | 8
Irgason | 7.25 | orientation: 325° geo north
Irgason 107 probe | 7.25
Li-7700 | 7.25
RMYoung 05103 | 6.3
Si-131 | 5.2 | Removed the 2022-06-13
HMP45C | 2.3
PTB110 | 2.3
TB4 | 0.9
Distance between instruments (sonic as reference)
| Eastward (cm) | Northward (cm)
Li-7700 | -21.5 | -18

## Bernard
Bernard |  |  | Lat | 50.8616
Instrument | Height abovewater level (m) | Notes | Lon | -63.3899
CNR4 | 0.8
Irgason | 4.3 | orientation: 138° compass = 120° geo north
Irgason 107 probe | 4.3
Li-7700 | 4.3
RMYoung 05103 | 3.9 | Installed 2022-08-16
Si-131 | 0.8
HC2S3 | 2
PTB110 | 1.2 | To be verified
TB4 | 1
Distance between instruments (sonic as reference)
| Eastward (cm) | Northward (cm)
Li-7700 | -35 | 15

## Foret
Foret |  |  | Lat | 50.9021
Instrument | Height (m) | Notes | Lon | -63.4051
CNR4 | 24
CSAT | 24 | Orientation (geo north): 90° (CSAT east), 270° (CSAT west)
CS650 | -0.03
Li-7500 | 24
Li-7700 | 24
HFP01SC | -0.1
HMP45C | 24
HMP155 | 20
HMP155 | 15
HMP155 | 10
HMP155 | 5
OWI-650 | 26
PTB110 | 24
RMYoung 05103 | 25
TB4 | 25
TCAV_2 | -0.03
TCAV_1 | -0.09
Distance between instruments (sonic as reference)
| Eastward (cm) | Northward (cm)
Li-7500 west | 12 | 0
Li-7700 west | 22 | 28
Li-7500 east | -12 | 0

## Reservoir
Réservoir |  |  |  | Lat | 50.689
Instrument | Height (m) | Notes |  | Lon | -63.2494
CNR4 | 1.5 | Installed 2021-06
Irgason | 2
Irgason 107 probe | 2
Distance between instruments (sonic as reference) in cm
| x | y | z
3DM-CV5-25 | 85 | -10 | -10

## Thermistors
Thermistors chain 2 |  | Thermistors chain 2
Instrument | Height (m) | Instrument | Height (m)
TidBit V2 | 0 | TidBit V2 | 0
TidBit V2 | 0.2 | TidBit V2 | 0.2
TidBit V2 | 0.4 | TidBit V2 | 0.4
TidBit V2 | 0.6 | TidBit V2 | 0.6
TidBit V2 | 0.8 | TidBit V2 | 0.8
TidBit V2 | 1 | TidBit V2 | 1
TidBit V2 | 1.4 | TidBit V2 | 1.4
TidBit V2 | 1.8 | TidBit V2 | 1.8
TidBit V2 | 2.2 | TidBit V2 | 2.2
TidBit V2 | 2.6 | TidBit V2 | 2.6
TidBit V2 | 3 | TidBit V2 | 3
TidBit V2 | 4 | TidBit V2 | 4
TidBit V2 | 5 | TidBit V2 | 5
TidBit V2 | 6 | TidBit V2 | 6
TidBit V2 | 7 | TidBit V2 | 7
TidBit V2 | 8 | TidBit V2 | 8
TidBit V2 | 9 | TidBit V2 | 9
TidBit V2 | 10 | TidBit V2 | 10
TidBit V2 | 12.5 | TidBit V2 | 12.5
U20 | 15 | TidBit V2 | 15
|  | TidBit V2 | 17.5
|  | TidBit V2 | 20
Lat | 50.6895 | TidBit V2 | 22.5
Lon | -63.2497 | TidBit V2 | 25
|  | TidBit V2 | 27.5
|  | TidBit V2 | 30
|  | TidBit V2 | 32.5
|  | TidBit V2 | 40
|  | TidBit V2 | 50
|  | TidBit V2 | 60
|  | U20 | 70
|  | Lat | 50.6753
|  | Lon | -63.2527

## Natashquan
Natashquan river
Instrument | Height (m)
CNR4 | 2
RMYoung 05103 | 2
HMP45C | 2
TB3 | 1